## Master
Equipment | Subsystem | IP Address | Subnet Mask | Gateway | No. Switch | Port | Loaction | MAC Address | Extension Number / Identification Number | Building | Floor level
Depot/Admin Buildings
NAC 1 | PA | 10.207.93.4 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2093004 | TBD | TBD
NAC 2 | PA | 10.207.93.5 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2093005 | TBD | TBD
NAC 3 | PA | 10.207.93.6 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2093006 | TBD | TBD
NAC 4 | PA | 10.207.93.7 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2093007 | TBD | TBD
NAC 5 | PA | 10.207.93.8 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2093008 | TBD | TBD
NAC 6 | PA | 10.207.93.9 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2093009 | TBD | TBD
NAC 7 | PA | 10.207.93.10 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2093010 | TBD | TBD
SNOM 710 1 | PHP_VoIP | 10.207.93.11 | 255.255.255.0 | 10.207.93.1 |  |  | ELECTRICAL ROOM A |  | 2001 | MCC BUILDING | GROUND FLOOR
SNOM 710 2 | PHP_VoIP | 10.207.93.12 | 255.255.255.0 | 10.207.93.1 |  |  | ELECTRICAL ROOM B |  | 2002 | MCC BUILDING | GROUND FLOOR
SNOM 710 3 | PHP_VoIP | 10.207.93.13 | 255.255.255.0 | 10.207.93.1 |  |  | LOBBY |  | 2003 | MCC BUILDING | GROUND FLOOR
SNOM 710 4 | PHP_VoIP | 10.207.93.14 | 255.255.255.0 | 10.207.93.1 |  |  | ECS ROOM |  | 2004 | MCC BUILDING | GROUND FLOOR
SNOM 710 5 | PHP_VoIP | 10.207.93.15 | 255.255.255.0 | 10.207.93.1 |  |  | CABINET INFORMATION |  | 2005 | MCC BUILDING | GROUND FLOOR
SNOM 710 6 | PHP_VoIP | 10.207.93.16 | 255.255.255.0 | 10.207.93.1 |  |  | ELECTRICAL ROOM A |  | 2006 | MCC BUILDING | FIRST FLOOR
SNOM 710 7 | PHP_VoIP | 10.207.93.17 | 255.255.255.0 | 10.207.93.1 |  |  | ELECTRICAL ROOM B |  | 2007 | MCC BUILDING | FIRST FLOOR
SNOM 710 8 | PHP_VoIP | 10.207.93.18 | 255.255.255.0 | 10.207.93.1 |  |  | ECS ROOM |  | 2008 | MCC BUILDING | FIRST FLOOR
SNOM 710 9 | PHP_VoIP | 10.207.93.19 | 255.255.255.0 | 10.207.93.1 |  |  | CABINET INFORMATION |  | 2009 | MCC BUILDING | FIRST FLOOR
SNOM 710 10 | PHP_VoIP | 10.207.93.20 | 255.255.255.0 | 10.207.93.1 |  |  | TELECOM ROOM |  | 2010 | MCC BUILDING | FIRST FLOOR
SNOM 710 11 | PHP_VoIP | 10.207.93.21 | 255.255.255.0 | 10.207.93.1 |  |  | OFFICE ROOM A |  | 2011 | MCC BUILDING | FIRST FLOOR
SNOM 710 12 | PHP_VoIP | 10.207.93.22 | 255.255.255.0 | 10.207.93.1 |  |  | OFFICE ROOM B |  | 2012 | MCC BUILDING | FIRST FLOOR
SNOM 710 13 | PHP_VoIP | 10.207.93.23 | 255.255.255.0 | 10.207.93.1 |  |  | OFFICE ROOM B |  | 2013 | MCC BUILDING | FIRST FLOOR
SNOM 710 14 | PHP_VoIP | 10.207.93.24 | 255.255.255.0 | 10.207.93.1 |  |  | MEETING ROOM |  | 2014 | MCC BUILDING | FIRST FLOOR
SNOM 710 15 | PHP_VoIP | 10.207.93.25 | 255.255.255.0 | 10.207.93.1 |  |  | POLICE ROOM |  | 2015 | MCC BUILDING | FIRST FLOOR
SNOM 710 16 | PHP_VoIP | 10.207.93.26 | 255.255.255.0 | 10.207.93.1 |  |  | ELECTRICAL ROOM A |  | 2016 | MCC BUILDING | SECOND FLOOR
SNOM 710 17 | PHP_VoIP | 10.207.93.27 | 255.255.255.0 | 10.207.93.1 |  |  | ELECTRICAL ROOM B |  | 2017 | MCC BUILDING | SECOND FLOOR
SNOM 710 18 | PHP_VoIP | 10.207.93.28 | 255.255.255.0 | 10.207.93.1 |  |  | CABINET INFORMATION |  | 2018 | MCC BUILDING | SECOND FLOOR
SNOM 710 19 | PHP_VoIP | 10.207.93.29 | 255.255.255.0 | 10.207.93.1 |  |  | OFFICE ROOM A |  | 2019 | MCC BUILDING | SECOND FLOOR
SNOM 710 20 | PHP_VoIP | 10.207.93.30 | 255.255.255.0 | 10.207.93.1 |  |  | OFFICE ROOM A |  | 2020 | MCC BUILDING | SECOND FLOOR
SNOM 710 21 | PHP_VoIP | 10.207.93.31 | 255.255.255.0 | 10.207.93.1 |  |  | OFFICE ROOM B |  | 2021 | MCC BUILDING | SECOND FLOOR
SNOM 710 22 | PHP_VoIP | 10.207.93.32 | 255.255.255.0 | 10.207.93.1 |  |  | OFFICE ROOM B |  | 2022 | MCC BUILDING | SECOND FLOOR
SNOM 710 23 | PHP_VoIP | 10.207.93.33 | 255.255.255.0 | 10.207.93.1 |  |  | POLICE ROOM |  | 2023 | MCC BUILDING | SECOND FLOOR
SNOM 710 24 | PHP_VoIP | 10.207.93.34 | 255.255.255.0 | 10.207.93.1 |  |  | POLICE ROOM |  | 2024 | MCC BUILDING | SECOND FLOOR
SNOM 710 25 | PHP_VoIP | 10.207.93.35 | 255.255.255.0 | 10.207.93.1 |  |  | MEETING ROOM A |  | 2025 | MCC BUILDING | SECOND FLOOR
SNOM 710 26 | PHP_VoIP | 10.207.93.36 | 255.255.255.0 | 10.207.93.1 |  |  | MEETING ROOM B |  | 2026 | MCC BUILDING | SECOND FLOOR
SNOM 710 27 | PHP_VoIP | 10.207.93.37 | 255.255.255.0 | 10.207.93.1 |  |  | ELECTRICAL ROOM A |  | 2027 | MCC BUILDING | THIRD FLOOR
SNOM 710 28 | PHP_VoIP | 10.207.93.38 | 255.255.255.0 | 10.207.93.1 |  |  | ELECTRICAL ROOM B |  | 2028 | MCC BUILDING | THIRD FLOOR
SNOM 710 29 | PHP_VoIP | 10.207.93.39 | 255.255.255.0 | 10.207.93.1 |  |  | CABINET INFORMATION |  | 2029 | MCC BUILDING | THIRD FLOOR
SNOM 710 30 | PHP_VoIP | 10.207.93.40 | 255.255.255.0 | 10.207.93.1 |  |  | OFFICE ROOM A |  | 2030 | MCC BUILDING | THIRD FLOOR
SNOM 710 31 | PHP_VoIP | 10.207.93.41 | 255.255.255.0 | 10.207.93.1 |  |  | OFFICE ROOM A |  | 2031 | MCC BUILDING | THIRD FLOOR
SNOM 710 32 | PHP_VoIP | 10.207.93.42 | 255.255.255.0 | 10.207.93.1 |  |  | OFFICE ROOM B |  | 2032 | MCC BUILDING | THIRD FLOOR
SNOM 710 33 | PHP_VoIP | 10.207.93.43 | 255.255.255.0 | 10.207.93.1 |  |  | OFFICE ROOM B |  | 2033 | MCC BUILDING | THIRD FLOOR
SNOM 710 34 | PHP_VoIP | 10.207.93.44 | 255.255.255.0 | 10.207.93.1 |  |  | POLICE ROOM |  | 2034 | MCC BUILDING | THIRD FLOOR
SNOM 710 35 | PHP_VoIP | 10.207.93.45 | 255.255.255.0 | 10.207.93.1 |  |  | POLICE ROOM |  | 2035 | MCC BUILDING | THIRD FLOOR
SNOM 710 36 | PHP_VoIP | 10.207.93.46 | 255.255.255.0 | 10.207.93.1 |  |  | MEETING ROOM A |  | 2036 | MCC BUILDING | THIRD FLOOR
SNOM 710 37 | PHP_VoIP | 10.207.93.47 | 255.255.255.0 | 10.207.93.1 |  |  | MEETING ROOM B |  | 2037 | MCC BUILDING | THIRD FLOOR
SNOM 710 38 | PHP_VoIP | 10.207.93.48 | 255.255.255.0 | 10.207.93.1 |  |  | ELECTRICAL ROOM A |  | 2038 | MCC BUILDING | FOURTH FLOOR
SNOM 710 39 | PHP_VoIP | 10.207.93.49 | 255.255.255.0 | 10.207.93.1 |  |  | ELECTRICAL ROOM B |  | 2039 | MCC BUILDING | FOURTH FLOOR
SNOM 710 40 | PHP_VoIP | 10.207.93.50 | 255.255.255.0 | 10.207.93.1 |  |  | OCC MAINTENANCE FRAME |  | 2040 | MCC BUILDING | FOURTH FLOOR
SNOM 710 41 | PHP_VoIP | 10.207.93.51 | 255.255.255.0 | 10.207.93.1 |  |  | TELECOM ROOM |  | 2041 | MCC BUILDING | FOURTH FLOOR
SNOM 710 42 | PHP_VoIP | 10.207.93.52 | 255.255.255.0 | 10.207.93.1 |  |  | UPS ROOM |  | 2042 | MCC BUILDING | FOURTH FLOOR
SNOM 710 43 | PHP_VoIP | 10.207.93.53 | 255.255.255.0 | 10.207.93.1 |  |  | DEPOT & UPS BATTERY ROOM |  | 2043 | MCC BUILDING | FOURTH FLOOR
SNOM 710 44 | PHP_VoIP | 10.207.93.54 | 255.255.255.0 | 10.207.93.1 |  |  | UPS ROOM |  | 2044 | MCC BUILDING | FOURTH FLOOR
SNOM 710 45 | PHP_VoIP | 10.207.93.55 | 255.255.255.0 | 10.207.93.1 |  |  | INFORMATION CABINET |  | 2045 | MCC BUILDING | FOURTH FLOOR
SNOM 710 46 | PHP_VoIP | 10.207.93.56 | 255.255.255.0 | 10.207.93.1 |  |  | UPS ROOM |  | 2046 | MCC BUILDING | FOURTH FLOOR
SNOM 710 47 | PHP_VoIP | 10.207.93.57 | 255.255.255.0 | 10.207.93.1 |  |  | MEETING ROOM A |  | 2047 | MCC BUILDING | FOURTH FLOOR
SNOM 710 48 | PHP_VoIP | 10.207.93.58 | 255.255.255.0 | 10.207.93.1 |  |  | MEETING ROOM B |  | 2048 | MCC BUILDING | FOURTH FLOOR
CXS SERVER | PA / PIDS / PHP_VoIP | 10.207.91.4 | 255.255.255.0 | 10.207.93.1 |  |  | EQUIPMENT ROOM |  | N/A | MCC BUILDING | FIFTH FLOOR
CVRS SERVER | PA / PIDS / PHP_VoIP | 10.207.91.5 | 255.255.255.0 | 10.207.93.1 |  |  | EQUIPMENT ROOM |  | N/A | MCC BUILDING | FIFTH FLOOR
CVMS SERVER | PA / PIDS / PHP_VoIP | 10.207.91.6 | 255.255.255.0 | 10.207.93.1 |  |  | EQUIPMENT ROOM |  | N/A | MCC BUILDING | FIFTH FLOOR
Master Clock Unit | MCS | 10.203.91.2 | 255.255.255.0 | 10.203.93.1 |  |  | EQUIPMENT ROOM |  | N/A | MCC BUILDING | FIFTH FLOOR
Digital Clock | MCS | 10.203.91.3 | 255.255.255.0 | 10.203.93.1 |  |  | EQUIPMENT ROOM |  | N/A | MCC BUILDING | FIFTH FLOOR
CONTROLLER WORKSTATION | PA / PIDS / PHP_VoIP / MCS | 10.207.91.8 | 255.255.255.0 | 10.207.93.1 |  |  | OCC OPERATOR ROOM |  | N/A | MCC BUILDING | FIFTH FLOOR
SNOM 765 | PHP_VoIP | 10.207.91.9 | 255.255.255.0 | 10.207.93.1 |  |  | OCC OPERATOR ROOM |  | 7001 | MCC BUILDING | FIFTH FLOOR
IPPA | PA /PIDS / PHP_VoIP | 10.207.91.10 | 255.255.255.0 | 10.207.93.1 |  |  | OCC OPERATOR ROOM |  | 2091010 | MCC BUILDING | FIFTH FLOOR
SNOM 710 49 | PHP_VoIP | 10.207.91.36 | 255255255128 | 10.207.93.1 | 8110 |  | MAINTENANCE ROOM 1 | 000413889035 | 2049 | MCC BUILDING | FIFTH FLOOR
SNOM 710 50 | PHP_VoIP | 10.207.91.37 | 255255255128 | 10.207.93.1 | 8110 |  | MAINTENANCE ROOM 2 | 000413887B63 | 2050 | MCC BUILDING | FIFTH FLOOR
SNOM 710 51 | PHP_VoIP | 10.207.91.38 | 255255255128 | 10.207.93.1 | 8110 |  | MAINTENANCE ROOM 3 | 000413889072 | 2051 | MCC BUILDING | FIFTH FLOOR
SNOM 710 52 | PHP_VoIP | 10.207.91.39 | 255255255128 | 10.207.93.1 | 8110 |  | MAINTENANCE ROOM 4 | 000413889037 | 2052 | MCC BUILDING | FIFTH ROOM
SNOM 710 53 | PHP_VoIP | 10.207.91.40 | 255255255128 | 10.207.93.1 | 8110 |  | MAINTENANCE ROOM 5 | 000413887AEC | 2053 | MCC BUILDING | FIFTH ROOM
SNOM 710 54 | PHP_VoIP | 10.207.91.41 | 255255255128 | 10.207.93.1 | 8110 |  | MAINTENANCE ROOM 6 | 00041388906E | 2054 | MCC BUILDING | FIFTH ROOM
SNOM 710 55 | PHP_VoIP | 10.207.91.42 | 255255255128 | 10.207.93.1 | 8110 |  | MAINTENANCE ROOM 7 | 00041388903A | 2055 | MCC BUILDING | FIFTH ROOM
SNOM 710 56 | PHP_VoIP | 10.207.91.43 | 255255255128 | 10.207.93.1 | 8110 |  | MAINTENANCE ROOM 8 | 00041388906F | 2056 | MCC BUILDING | FIFTH ROOM
SNOM 710 57 | PHP_VoIP | 10.207.91.47 | 255255255128 | 10.207.91.1 | 8111 |  | OCC OPERATOR ROOM (VOIP PHP SCADA COMM) | 000413888FDE | 2057 | MCC BUILDING | FIFTH FLOOR
SNOM 710 58 | PHP_VoIP | 10.207.91.48 | 255255255128 | 10.207.91.1 | 8111 |  | OCC OPERATOR ROOM (SCADA COMM) | 000413888FF2 | 2058 | MCC BUILDING | FIFTH FLOOR
SNOM 710 59 | PHP_VoIP | 10.207.91.49 | 255255255128 | 10.207.91.1 | 8111 |  | OCC OPERATOR ROOM (VOIP BLS SCADA POWER) | 00041388848E | 2059 | MCC BUILDING | FIFTH FLOOR
SNOM 710 60 | PHP_VoIP | 10.207.91.50 | 255255255128 | 10.207.91.1 | 8111 |  | OCC OPERATOR ROOM (VOIP SCADA POWER) | 0004138884FE | 2060 | MCC BUILDING | FIFTH FLOOR
SNOM 710 61 | PHP_VoIP | 10.207.91.51 | 255255255128 | 10.207.91.1 | 8111 |  | OCC OPERATOR ROOM (MAINLINE OPT) | 000413888490 | 2061 | MCC BUILDING | FIFTH FLOOR
SNOM 710 62 | PHP_VoIP | 10.207.91.52 | 255255255128 | 10.207.91.1 | 8111 |  | OCC OPERATOR ROOM (DEPOT OP) | 000413887A8A | 2062 | MCC BUILDING | FIFTH FLOOR
SNOM 710 63 | PHP_VoIP | 10.207.91.53 | 255255255128 | 10.207.91.1 | 8111 |  | OCC OPERATOR ROOM (SUPERVISOR) | 000413887AAB | 2063 | MCC BUILDING | FIFTH FLOOR
SNOM 710 64 | PHP_VoIP | 10.207.93.74 | 255.255.255.0 | 10.207.93.1 |  |  | OCC OPERATOR ROOM | 00071300903C | 2064 | MCC BUILDING | FIFTH FLOOR
SNOM 710 65 | PHP_VoIP | 10.207.93.75 | 255.255.255.0 | 10.207.93.1 |  |  | CABINET INFORMATION | 00071300903A | 2065 | MCC BUILDING | FIFTH FLOOR
SNOM 710 66 | PHP_VoIP | REFER TO APSS
SNOM 710 67 | PHP_VoIP
SNOM 710 68 | PHP_VoIP
SNOM 710 69 | PHP_VoIP
SNOM 710 70 | PHP_VoIP
SNOM 710 71 | PHP_VoIP
SNOM 710 72 | PHP_VoIP
SNOM 710 73 | PHP_VoIP
SNOM 710 74 | PHP_VoIP
SNOM 710 75 | PHP_VoIP
SNOM 710 76 | PHP_VoIP | 10.207.93.86 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2076 | TBD | TBD
SNOM 710 77 | PHP_VoIP | 10.207.93.87 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2077 | TBD | TBD
SNOM 710 78 | PHP_VoIP | 10.207.93.88 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2078 | TBD | TBD
SNOM 710 79 | PHP_VoIP | 10.207.93.89 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2079 | TBD | TBD
SNOM 710 80 | PHP_VoIP | 10.207.93.90 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2080 | TBD | TBD
SNOM 710 81 | PHP_VoIP | 10.207.93.91 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2081 | TBD | TBD
SNOM 710 82 | PHP_VoIP | 10.207.93.92 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2082 | TBD | TBD
SNOM 710 83 | PHP_VoIP | 10.207.93.93 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2083 | TBD | TBD
SNOM 710 84 | PHP_VoIP | 10.207.93.94 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2084 | TBD | TBD
SNOM 710 85 | PHP_VoIP | 10.207.93.95 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2085 | TBD | TBD
SNOM 710 86 | PHP_VoIP | 10.207.93.96 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2086 | TBD | TBD
SNOM 710 87 | PHP_VoIP | 10.207.93.97 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2087 | TBD | TBD
SNOM 710 88 | PHP_VoIP | 10.207.93.98 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2088 | TBD | TBD
SNOM 710 89 | PHP_VoIP | 10.207.93.99 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2089 | TBD | TBD
SNOM 710 90 | PHP_VoIP | 10.207.93.100 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2090 | TBD | TBD
SNOM 710 91 | PHP_VoIP | 10.207.93.101 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2091 | TBD | TBD
SNOM 710 92 | PHP_VoIP | 10.207.93.102 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2092 | TBD | TBD
SNOM 710 93 | PHP_VoIP | 10.207.93.103 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2093 | TBD | TBD
SNOM 710 94 | PHP_VoIP | 10.207.93.104 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2094 | TBD | TBD
SNOM 710 95 | PHP_VoIP | 10.207.93.105 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2095 | TBD | TBD
SNOM 710 96 | PHP_VoIP | 10.207.93.106 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2096 | TBD | TBD
SNOM 710 97 | PHP_VoIP | 10.207.93.107 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2097 | TBD | TBD
SNOM 710 98 | PHP_VoIP | 10.207.93.108 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2098 | TBD | TBD
SNOM 710 99 | PHP_VoIP | 10.207.93.109 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2099 | TBD | TBD
SNOM 710 100 | PHP_VoIP | 10.207.93.110 | 255.255.255.0 | 10.207.93.1 |  |  | TBD |  | 2100 | TBD | TBD
BLS 1 | BLS / Third Rail | 10.207.93.111 | 255.255.255.0 | 10.216.93.1 |  |  | Light Maintenance Room |  | 4001 | DEPO MF | GROUND FLOOR
BLS 2 | BLS / Third Rail | 10.207.93.112 | 255.255.255.0 | 10.216.93.1 |  |  | Light Maintenance Room |  | 4002 | DEPO MF | GROUND FLOOR
BLS 3 | BLS / Third Rail | 10.207.93.113 | 255.255.255.0 | 10.216.93.1 |  |  | Light Maintenance Room |  | 4003 | DEPO MF | GROUND FLOOR
BLS 4 | BLS / Third Rail | 10.207.93.114 | 255.255.255.0 | 10.216.93.1 |  |  | Light Maintenance Room |  | 4004 | DEPO MF | GROUND FLOOR
BLS 5 | BLS / Third Rail | 10.207.93.115 | 255.255.255.0 | 10.216.93.1 |  |  | Light Maintenance Room |  | 4005 | DEPO MF | GROUND FLOOR
BLS 6 | BLS / Third Rail | 10.207.93.116 | 255.255.255.0 | 10.216.93.1 |  |  | Stabling MF |  | 4006 | DEPO MF | GROUND FLOOR
BLS 7 | BLS / Third Rail | 10.207.93.117 | 255.255.255.0 | 10.216.93.1 |  |  | Stabling MF |  | 4007 | DEPO MF | GROUND FLOOR
BLS 8 | BLS / Third Rail | 10.207.93.118 | 255.255.255.0 | 10.216.93.1 |  |  | Stabling MF |  | 4008 | DEPO MF | GROUND FLOOR
BLS 9 | BLS / Third Rail | 10.207.93.119 | 255.255.255.0 | 10.216.93.1 |  |  | Stabling MF |  | 4009 | DEPO MF | GROUND FLOOR
BLS 10 | BLS / Third Rail | 10.207.93.120 | 255.255.255.0 | 10.216.93.1 |  |  | Stabling MF |  | 4010 | DEPO MF | GROUND FLOOR
Lift Intercom 1 | BMS | 10.213.93.4 | 255.255.255.0 | 10.213.93.1 |  |  | Lift MCC 1 |  | 5001 | MCC BUILDING | GROUND FLOOR
Lift Intercom 2 | BMS | 10.213.93.5 | 255.255.255.0 | 10.213.93.1 |  |  | Lift MCC 2 |  | 5002 | MCC BUILDING | GROUND FLOOR
BCC
CXS SERVER | PA / PIDS / PHP_VoIP | 10.207.92.4 | 255.255.255.0 | 10.207.92.1 |  |  | EQUIPMENT ROOM |  | N/A | BCC BUILDING | GROUND FLOOR
CVRS SERVER | PA / PIDS / PHP_VoIP | 10.207.92.5 | 255.255.255.0 | 10.207.92.1 |  |  | EQUIPMENT ROOM |  | N/A | BCC BUILDING | GROUND FLOOR
CVMS SERVER | PA / PIDS / PHP_VoIP | 10.207.92.6 | 255.255.255.0 | 10.207.92.1 |  |  | EQUIPMENT ROOM |  | N/A | BCC BUILDING | GROUND FLOOR
Master Clock Unit | MCS | 10.203.92.2 | 255.255.255.0 | 10.207.92.1 |  |  | EQUIPMENT ROOM |  | N/A | BCC BUILDING | GROUND FLOOR
Digital Clock | MCS | 10.203.92.3 | 255.255.255.0 | 10.203.92.1 |  |  | EQUIPMENT ROOM |  | N/A | BCC BUILDING | GROUND FLOOR
CONTROLLER WORKSTATION | PA / PIDS / PHP_VoIP / MCS | 10.203.92.4 | 255.255.255.0 | 10.203.92.1 |  |  | EQUIPMENT ROOM |  | N/A | BCC BUILDING | GROUND FLOOR
SNOM 765 | PHP_VoIP | 10.207.92.9 | 255.255.255.0 | 10.207.92.1 |  |  | EQUIPMENT ROOM |  | 7002 | BCC BUILDING | GROUND FLOOR
IPPA | PA /PIDS / PHP_VoIP | 10.207.92.10 | 255.255.255.0 | 10.207.92.1 |  |  | EQUIPMENT ROOM |  | 2092010 | BCC BUILDING | GROUND FLOOR
APSS
SNOM 710 66 | PHP_VoIP | 10.207.93.76 | 255.255.255.0 | 10.207.93.1 |  |  | UPS ROOM |  | 2066 | APSS BUILDING | GROUND FLOOR
SNOM 710 67 | PHP_VoIP | 10.207.93.77 | 255.255.255.0 | 10.207.93.1 |  |  | FACILITY POWER SUBSTATION A |  | 2067 | APSS BUILDING | GROUND FLOOR
SNOM 710 68 | PHP_VoIP | 10.207.93.78 | 255.255.255.0 | 10.207.93.1 |  |  | FACILITY POWER SUBSTATION B |  | 2068 | APSS BUILDING | GROUND FLOOR
SNOM 710 69 | PHP_VoIP | 10.207.93.79 | 255.255.255.0 | 10.207.93.1 |  |  | BATTERY ROOM |  | 2069 | APSS BUILDING | GROUND FLOOR
SNOM 710 70 | PHP_VoIP | 10.207.93.80 | 255.255.255.0 | 10.207.93.1 |  |  | DAMPING ROOM |  | 2070 | APSS BUILDING | GROUND FLOOR
SNOM 710 71 | PHP_VoIP | 10.207.93.81 | 255.255.255.0 | 10.207.93.1 |  |  | ECS CONTROLL ROOM |  | 2071 | APSS BUILDING | GROUND FLOOR
SNOM 710 72 | PHP_VoIP | 10.207.93.82 | 255.255.255.0 | 10.207.93.1 |  |  | EMERGENCY GENERATOR ROOM |  | 2072 | APSS BUILDING | GROUND FLOOR
SNOM 710 73 | PHP_VoIP | 10.207.93.83 | 255.255.255.0 | 10.207.93.1 |  |  | DAMPING UNIT ROOM |  | 2073 | APSS BUILDING | FIRST FLOOR
SNOM 710 74 | PHP_VoIP | 10.207.93.84 | 255.255.255.0 | 10.207.93.1 |  |  | ECS CONTROLL ROOM |  | 2074 | APSS BUILDING | FIRST FLOOR
SNOM 710 75 | PHP_VoIP | 10.207.93.85 | 255.255.255.0 | 10.207.93.1 |  |  | EMERGENCY GENERATOR ROOM |  | 2075 | APSS BUILDING | FIRST FLOOR
Depot Station
IPPA | PA / PIDS / PHP_VoIP | 10.207.11.4 | 255.255.255.0 | 10.207.11.1 |  |  | SCR ROOM |  | 2011004 | DPT ST BUILDING | FIRST FLOOR
NAC 1 | PA | 10.207.11.5 | 255.255.255.0 | 10.207.11.1 |  |  | TELECOM ROOM |  | 2011005 | DPT ST BUILDING | SECOND FLOOR
NAC 2 | PA | 10.207.11.6 | 255.255.255.0 | 10.207.11.1 |  |  | TELECOM ROOM |  | 2011006 | DPT ST BUILDING | SECOND FLOOR
Platform PA Phone 1 | PA | 10.207.11.7 | 255.255.255.0 | 10.207.11.1 |  |  | PLATFORM 1 |  | 6101 | DPT ST BUILDING | FIRST FLOOR
Platform PA Phone 2 | PA | 10.207.11.8 | 255.255.255.0 | 10.207.11.1 |  |  | PLATFORM 2 |  | 6102 | DPT ST BUILDING | FIRST FLOOR
SNOM 765 | PHP_VoIP | 10.207.11.11 | 255.255.255.0 | 10.207.11.1 |  |  | SCR ROOM |  | 7003 | DPT ST BUILDING | FIRST FLOOR
PHP 1 | PHP_VoIP | 10.207.11.21 | 255.255.255.0 | 10.207.11.1 |  |  | CONCOURSE 1 |  | 2011021 | DPT ST BUILDING | FIRST FLOOR
PHP 2 | PHP_VoIP | 10.207.11.22 | 255.255.255.0 | 10.207.11.1 |  |  | CONCOURSE 2 |  | 2011022 | DPT ST BUILDING | FIRST FLOOR
PHP 3 | PHP_VoIP | 10.207.11.23 | 255.255.255.0 | 10.207.11.1 |  |  | PLATFORM 1 |  | 2011023 | DPT ST BUILDING | FIRST FLOOR
PHP 4 | PHP_VoIP | 10.207.11.24 | 255.255.255.0 | 10.207.11.1 |  |  | PLATFORM 1 |  | 2011024 | DPT ST BUILDING | FIRST FLOOR
PHP 5 | PHP_VoIP | 10.207.11.25 | 255.255.255.0 | 10.207.11.1 |  |  | PLATFORM 2 |  | 2011025 | DPT ST BUILDING | FIRST FLOOR
PHP 6 | PHP_VoIP | 10.207.11.26 | 255.255.255.0 | 10.207.11.1 |  |  | PLATFORM 2 |  | 2011026 | DPT ST BUILDING | FIRST FLOOR
SNOM 710 1 | PHP_VoIP | 10.207.11.31 | 255.255.255.0 | 10.207.11.1 |  |  | TBD |  | 3101 | DPT ST BUILDING | TBD
SNOM 710 2 | PHP_VoIP | 10.207.11.32 | 255.255.255.0 | 10.207.11.1 |  |  | TBD |  | 3102 | DPT ST BUILDING | TBD
SNOM 710 3 | PHP_VoIP | 10.207.11.33 | 255.255.255.0 | 10.207.11.1 |  |  | TBD |  | 3103 | DPT ST BUILDING | TBD
SNOM 710 4 | PHP_VoIP | 10.207.11.34 | 255.255.255.0 | 10.207.11.1 |  |  | TBD |  | 3104 | DPT ST BUILDING | TBD
SNOM 710 5 | PHP_VoIP | 10.207.11.35 | 255.255.255.0 | 10.207.11.1 |  |  | TBD |  | 3105 | DPT ST BUILDING | TBD
SNOM 710 6 | PHP_VoIP | 10.207.11.36 | 255.255.255.0 | 10.207.11.1 |  |  | TBD |  | 3106 | DPT ST BUILDING | TBD
SNOM 710 7 | PHP_VoIP | 10.207.11.37 | 255.255.255.0 | 10.207.11.1 |  |  | TBD |  | 3107 | DPT ST BUILDING | TBD
SNOM 710 8 | PHP_VoIP | 10.207.11.38 | 255.255.255.0 | 10.207.11.1 |  |  | TBD |  | 3108 | DPT ST BUILDING | TBD
SNOM 710 9 | PHP_VoIP | 10.207.11.39 | 255.255.255.0 | 10.207.11.1 |  |  | TBD |  | 3109 | DPT ST BUILDING | TBD
SNOM 710 10 | PHP_VoIP | 10.207.11.40 | 255.255.255.0 | 10.207.11.1 |  |  | TBD |  | 3110 | DPT ST BUILDING | TBD
SNOM 710 11 | PHP_VoIP | 10.207.11.41 | 255.255.255.0 | 10.207.11.1 |  |  | TBD |  | 3111 | DPT ST BUILDING | TBD
SNOM 710 12 | PHP_VoIP | 10.207.11.42 | 255.255.255.0 | 10.207.11.1 |  |  | TBD |  | 3112 | DPT ST BUILDING | TBD
SNOM 710 13 | PHP_VoIP | 10.207.11.43 | 255.255.255.0 | 10.207.11.1 |  |  | TBD |  | 3113 | DPT ST BUILDING | TBD
SNOM 710 14 | PHP_VoIP | 10.207.11.44 | 255.255.255.0 | 10.207.11.1 |  |  | TBD |  | 3114 | DPT ST BUILDING | TBD
SNOM 710 15 | PHP_VoIP | 10.207.11.45 | 255.255.255.0 | 10.207.11.1 |  |  | TBD |  | 3115 | DPT ST BUILDING | TBD
PID 1 | PIDS | 10.207.11.51 | 255.255.255.0 | 10.207.11.1 |  |  | CONCOURSE 1 |  | 2011051 | DPT ST BUILDING | FIRST FLOOR
PID 2 | PIDS | 10.207.11.52 | 255.255.255.0 | 10.207.11.1 |  |  | CONCOURSE 2 |  | 2011052 | DPT ST BUILDING | FIRST FLOOR
PID 3 | PIDS | 10.207.11.53 | 255.255.255.0 | 10.207.11.1 |  |  | PLATFORM 1 |  | 2011053 | DPT ST BUILDING | FIRST FLOOR
PID 4 | PIDS | 10.207.11.54 | 255.255.255.0 | 10.207.11.1 |  |  | PLATFORM 2 |  | 2011054 | DPT ST BUILDING | FIRST FLOOR
BLS 1 | BLS / Third Rail | 10.216.11.4 | 255.255.255.0 | 10.216.11.1 |  |  | TSS |  | 4101 | DPT ST BUILDING | FIRST FLOOR
BLS 2 | BLS / Third Rail | 10.216.11.5 | 255.255.255.0 | 10.216.11.1 |  |  | Platform (1) |  | 4102 | DPT ST BUILDING | FIRST FLOOR
BLS 3 | BLS / Third Rail | 10.216.11.6 | 255.255.255.0 | 10.216.11.1 |  |  | Platform (1) |  | 4103 | DPT ST BUILDING | FIRST FLOOR
BLS 4 | BLS / Third Rail | 10.216.11.7 | 255.255.255.0 | 10.216.11.1 |  |  | Platform (2) |  | 4104 | DPT ST BUILDING | FIRST FLOOR
BLS 5 | BLS / Third Rail | 10.216.11.8 | 255.255.255.0 | 10.216.11.1 |  |  | Platform (2) |  | 4105 | DPT ST BUILDING | FIRST FLOOR
Lift Intercom 1 | BMS | 10.213.11.4 | 255.255.255.0 | 10.213.11.1 |  |  | Lift Depot Station Enterance |  | 5101 | DPT ST BUILDING | FIRST FLOOR
Lift Intercom 2 | BMS | 10.213.11.5 | 255.255.255.0 | 10.213.11.1 |  |  | Lift Depot Station 1 |  | 5102 | DPT ST BUILDING | FIRST FLOOR
Lift Intercom 3 | BMS | 10.213.11.6 | 255.255.255.0 | 10.213.11.1 |  |  | Lift Depot Station 2 |  | 5103 | DPT ST BUILDING | FIRST FLOOR
Kelapa Gading Mall Station
IPPA | PA / PIDS / PHP_VoIP | 10.207.12.4 | 255.255.255.0 | 10.207.12.1 |  |  | SCR ROOM |  | 2012004 | KGM BUILDING | FIRST FLOOR
NAC 1 | PA | 10.207.12.5 | 255.255.255.0 | 10.207.12.1 |  |  | TELECOM ROOM |  | 2012005 | KGM BUILDING | SECOND FLOOR
NAC 2 | PA | 10.207.12.6 | 255.255.255.0 | 10.207.12.1 |  |  | TELECOM ROOM |  | 2012006 | KGM BUILDING | SECOND FLOOR
Platform PA Phone 1 | PA | 10.207.12.7 | 255.255.255.0 | 10.207.12.1 |  |  | PLATFORM 1 |  | 6201 | KGM BUILDING | FIRST FLOOR
Platform PA Phone 2 | PA | 10.207.12.8 | 255.255.255.0 | 10.207.12.1 |  |  | PLATFORM 2 |  | 6202 | KGM BUILDING | FIRST FLOOR
SNOM 765 | PHP_VoIP | 10.207.12.179 | 255255255128 | 10.207.12.129 | 1207 | 1 | SCR ROOM | 000413948C4B | 7004 | KGM BUILDING | FIRST FLOOR
PHP 1 | PHP_VoIP | 10.207.12.21 | 255.255.255.0 | 10.207.12.1 |  |  | UNPAID COCOURSE 1 |  | 2012021 | KGM BUILDING | FIRST FLOOR
PHP 2 | PHP_VoIP | 10.207.12.22 | 255.255.255.0 | 10.207.12.1 |  |  | PLATFORM 1 |  | 2012022 | KGM BUILDING | FIRST FLOOR
PHP 3 | PHP_VoIP | 10.207.12.23 | 255.255.255.0 | 10.207.12.1 |  |  | PLATFORM 1 |  | 2012023 | KGM BUILDING | FIRST FLOOR
PHP 4 | PHP_VoIP | 10.207.12.24 | 255.255.255.0 | 10.207.12.1 |  |  | UNPAID COCOURSE 2 |  | 2012024 | KGM BUILDING | FIRST FLOOR
PHP 5 | PHP_VoIP | 10.207.12.25 | 255.255.255.0 | 10.207.12.1 |  |  | PLATFORM 2 |  | 2012025 | KGM BUILDING | FIRST FLOOR
PHP 6 | PHP_VoIP | 10.207.12.26 | 255.255.255.0 | 10.207.12.1 |  |  | PLATFORM 2 |  | 2012026 | KGM BUILDING | FIRST FLOOR
SNOM 710 1 | PHP_VoIP | 10.207.12.31 | 255.255.255.0 | 10.207.12.1 |  |  | PUMP ROOM | 000413889019 | 3201 | KGM BUILDING | GROUND FLOOR
SNOM 710 2 | PHP_VoIP | 10.207.12.32 | 255.255.255.0 | 10.207.12.1 |  |  | UPS BATTERY ROOM | 000413889015 | 3202 | KGM BUILDING | GROUND FLOOR
SNOM 710 3 | PHP_VoIP | 10.207.12.33 | 255.255.255.0 | 10.207.12.1 | 8122 |  | TSS ROOM | 000413889014 | 3203 | KGM BUILDING | GROUND FLOOR
SNOM 710 4 | PHP_VoIP | 10.207.12.34 | 255.255.255.0 | 10.207.12.1 |  |  | GENERATOR ROOM | 000413889027 | 3204 | KGM BUILDING | GROUND FLOOR
SNOM 710 5 | PHP_VoIP | 10.207.12.35 | 255.255.255.0 | 10.207.12.1 | 8122 | 3 | LV SWITCHGEAR ROOM | 000413889026 | 3205 | KGM BUILDING | GROUND FLOOR
SNOM 710 6 | PHP_VoIP | 10.207.12.140 | 255255255128 | 10.207.12.129 | 1208 | 1 | PSD ROOM | 000413889069 | 3206 | KGM BUILDING | FIRST FLOOR
SNOM 710 7 | PHP_VoIP | 10.207.12.138 | 255255255128 | 10.207.12.129 | 1208 | 2 | AFC ROOM | 000413889040 | 3207 | KGM BUILDING | FIRST FLOOR
SNOM 710 8 | PHP_VoIP | 10.207.12.38 | 255255255128 | 10.207.12.1 | 1203 | 4 | CASH ROOM | 000413889013 | 3208 | KGM BUILDING | FIRST FLOOR
SNOM 710 9 | PHP_VoIP | 10.207.12.39 | 255255255128 | 10.207.12.1 | 1203 | 3 | SMR ROOM | 00041388900C | 3209 | KGM BUILDING | FIRST FLOOR
SNOM 710 10 | PHP_VoIP | 10.207.12.142 | 255255255128 | 10.207.12.129 | 1208 | 3 | PAO 1 | 000413888FB7 | 3210 | KGM BUILDING | FIRST FLOOR
SNOM 710 11 | PHP_VoIP | 10.207.12.227 | 255255255128 | 10.207.12.129 | 1207 | 17 | SCR ROOM | 00041388903C | 3211 | KGM BUILDING | FIRST FLOOR
SNOM 710 12 | PHP_VoIP | 10.207.12.42 | 255255255128 | 10.207.12.1 | 1203 | 2 | DB ROOM 2 | 000413888FB8 | 3212 | KGM BUILDING | FIRST FLOOR
SNOM 710 13 | PHP_VoIP | 10.207.12.37 | 255255255128 | 10.207.12.1 | TVM4/ | 1 | PAO 2 | 000413888FEF | 3213 | KGM BUILDING | FIRST FLOOR
SNOM 710 14 | PHP_VoIP | 10.207.12.67 | 255255255128 | 10.207.12.1 | 1203 | 1 | FIRST AID & NURSING | 000413888FAA | 3214 | KGM BUILDING | FIRST FLOOR
SNOM 710 15 | PHP_VoIP | 10.207.12.143 | 255255255128 | 10.207.12.129 | 1211 | 1 | TELECOM ROOM | 000413888FCD | 3215 | KGM BUILDING | FIRST FLOOR
SNOM 710 16 | PHP_VoIP | 10.207.12.144 | 255255255128 | 10.207.12.129 | 1211 | 2 | SIGNALING ROOM | 00041388903B | 3216 | KGM BUILDING | FIRST FLOOR
PID 1 | PIDS | 10.207.12.51 | 255.255.255.0 | 10.207.12.1 |  |  | CONCOURSE 1 |  | 2012051 | KGM BUILDING | FIRST FLOOR
PID 2 | PIDS | 10.207.12.52 | 255.255.255.0 | 10.207.12.1 |  |  | CONCOURSE 2 |  | 2012052 | KGM BUILDING | FIRST FLOOR
PID 3 | PIDS | 10.207.12.53 | 255.255.255.0 | 10.207.12.1 |  |  | PLATFORM 1 |  | 2012053 | KGM BUILDING | FIRST FLOOR
PID 4 | PIDS | 10.207.12.54 | 255.255.255.0 | 10.207.12.1 |  |  | PLATFORM 2 |  | 2012054 | KGM BUILDING | FIRST FLOOR
BLS 1 | BLS / Third Rail | 10.216.12.4 | 255.255.255.0 | 10.216.12.1 |  |  | TSS |  | 4201 | KGM BUILDING | FIRST FLOOR
BLS 2 | BLS / Third Rail | 10.216.12.5 | 255.255.255.0 | 10.216.12.1 |  |  | Platform (1) |  | 4202 | KGM BUILDING | FIRST FLOOR
BLS 3 | BLS / Third Rail | 10.216.12.6 | 255.255.255.0 | 10.216.12.1 |  |  | Platform (1) |  | 4203 | KGM BUILDING | FIRST FLOOR
BLS 4 | BLS / Third Rail | 10.216.12.7 | 255.255.255.0 | 10.216.12.1 |  |  | Platform (2) |  | 4204 | KGM BUILDING | FIRST FLOOR
BLS 5 | BLS / Third Rail | 10.216.12.8 | 255.255.255.0 | 10.216.12.1 |  |  | Platform (2) |  | 4205 | KGM BUILDING | FIRST FLOOR
Lift Intercom 1 | BMS | 10.213.12.4 | 255.255.255.0 | 10.213.12.1 |  |  | Lift KGM Station 1 |  | 5201 | KGM BUILDING | FIRST FLOOR
Lift Intercom 2 | BMS | 10.213.12.5 | 255.255.255.0 | 10.213.12.1 |  |  | Lift KGM Station 2 |  | 5202 | KGM BUILDING | FIRST FLOOR
Kalapa Gading Boulevard Station
IPPA | PA / PIDS / PHP_VoIP | 10.207.13.122 | 255.255.255.128 | 10.207.13.1 |  |  | SCR ROOM |  | 2013004 | KGB BUILDING | FIRST FLOOR
NAC 1 | PA | 10.207.13.5 | 255.255.255.0 | 10.207.13.1 |  |  | TELECOM ROOM |  | 2013005 | KGB BUILDING | SECOND FLOOR
NAC 2 | PA | 10.207.13.6 | 255.255.255.0 | 10.207.13.1 |  |  | TELECOM ROOM |  | 2013006 | KGB BUILDING | SECOND FLOOR
Platform PA Phone 1 | PA | 10.207.13.7 | 255.255.255.0 | 10.207.13.1 |  |  | PLATFORM 1 |  | 6301 | KGB BUILDING | FIRST FLOOR
Platform PA Phone 2 | PA | 10.207.13.8 | 255.255.255.0 | 10.207.13.1 |  |  | PLATFORM 2 |  | 6302 | KGB BUILDING | FIRST FLOOR
SNOM 765 | PHP_VoIP | 10.207.13.45 | 255.255.255.0 | 10.207.13.1 |  |  | SCR ROOM | 000413948BF8 | 7005 | KGB BUILDING | FIRST FLOOR
PHP 1 | PHP_VoIP | 10.207.13.21 | 255.255.255.0 | 10.207.13.1 |  |  | CONSOURSE 1 |  | 2013021 | KGB BUILDING | FIRST FLOOR
PHP 2 | PHP_VoIP | 10.207.13.22 | 255.255.255.0 | 10.207.13.1 |  |  | CONSOURSE 2 |  | 2013022 | KGB BUILDING | FIRST FLOOR
PHP 3 | PHP_VoIP | 10.207.13.23 | 255.255.255.0 | 10.207.13.1 |  |  | PLATFORM 1 |  | 2013023 | KGB BUILDING | FIRST FLOOR
PHP 4 | PHP_VoIP | 10.207.13.24 | 255.255.255.0 | 10.207.13.1 |  |  | PLATFORM 1 |  | 2013024 | KGB BUILDING | FIRST FLOOR
PHP 5 | PHP_VoIP | 10.207.13.25 | 255.255.255.0 | 10.207.13.1 |  |  | PLATFORM 2 |  | 2013025 | KGB BUILDING | FIRST FLOOR
PHP 6 | PHP_VoIP | 10.207.13.26 | 255.255.255.0 | 10.207.13.1 |  |  | PLATFORM 2 |  | 2013026 | KGB BUILDING | FIRST FLOOR
SNOM 710 1 | PHP_VoIP | 10.207.13.31 | 255.255.255.128 | 10.207.13.1 |  |  | PUMP ROOM |  | 3301 | KGB BUILDING | GROUND FLOOR
SNOM 710 2 | PHP_VoIP | 10.207.13.32 | 255.255.255.128 | 10.207.13.1 |  |  | UPS & BATTERY ROOM | 00041388902B | 3302 | KGB BUILDING | GROUND FLOOR
SNOM 710 3 | PHP_VoIP | 10.207.13.33 | 255.255.255.128 | 10.207.13.1 |  |  | GENERATOR ROOM | 000413889029 | 3303 | KGB BUILDING | GROUND FLOOR
SNOM 710 4 | PHP_VoIP | 10.207.13.34 | 255.255.255.128 | 10.207.13.1 |  |  | LV SWITCHGEAR ROOM | 000413888FA9 | 3304 | KGB BUILDING | GROUND FLOOR
SNOM 710 5 | PHP_VoIP | 10.207.13.35 | 255.255.255.128 | 10.207.13.1 |  |  | TSS ROOM | 000413888FB2 | 3305 | KGB BUILDING | FIRST FLOOR
SNOM 710 6 | PHP_VoIP | 10.207.13.148 | 255.255.255.128 | 10.207.13.129 |  |  | PAO 1 | 000413888FB6 | 3306 | KGB BUILDING | FIRST FLOOR
SNOM 710 7 | PHP_VoIP | 10.207.13.37 | 255.255.255.128 | 10.207.13.1 |  |  | PSD ROOM | 000413888FCF | 3307 | KGB BUILDING | FIRST FLOOR
SNOM 710 8 | PHP_VoIP | 10.207.13.48 | 255.255.255.128 | 10.207.13.1 |  |  | SCR ROOM | 000413889042 | 3308 | KGB BUILDING | FIRST FLOOR
SNOM 710 9 | PHP_VoIP | 10.207.13.40 | 255.255.255.128 | 10.207.13.1 |  |  | DB ROOM Lt.1 | 000413889071 | 3309 | KGB BUILDING | FIRST FLOOR
SNOM 710 10 | PHP_VoIP | 10.207.13.44 | 255.255.255.128 | 10.207.13.1 |  |  | SMR ROOM |  | 3310 | KGB BUILDING | FIRST FLOOR
SNOM 710 11 | PHP_VoIP | 10.207.13.41 | 255.255.255.128 | 10.207.13.1 |  |  | STAFF ROOM | 00041388903D | 3311 | KGB BUILDING | FIRST FLOOR
SNOM 710 12 | PHP_VoIP | 10.207.13.42 | 255.255.255.128 | 10.207.13.1 |  |  | PAO 2 | 00041388906D | 3312 | KGB BUILDING | FIRST FLOOR
SNOM 710 13 | PHP_VoIP | 10.207.13.43 | 255.255.255.128 | 10.207.13.1 |  |  | AFC ROOM | 000413889045 | 3313 | KGB BUILDING | FIRST FLOOR
SNOM 710 14 | PHP_VoIP | 10.207.13.147 | 255.255.255.128 | 10.207.13.129 |  |  | SIGNALING ROOM | 000413889059 | 3314 | KGB BUILDING | FIRST FLOOR
SNOM 710 15 | PHP_VoIP | 10.207.13.146 | 255.255.255.128 | 10.207.13.129 |  |  | TELECOM ROOM | 000413889036 | 3315 | KGB BUILDING | FIRST FLOOR
PID 1 | PIDS | 10.207.13.51 | 255.255.255.128 | 10.207.13.1 |  |  | CONCOURSE 1 |  | 2013051 | KGB BUILDING | FIRST FLOOR
PID 2 | PIDS | 10.207.13.52 | 255.255.255.128 | 10.207.13.1 |  |  | CONCOURSE 2 |  | 2013052 | KGB BUILDING | FIRST FLOOR
PID 3 | PIDS | 10.207.13.53 | 255.255.255.128 | 10.207.13.1 |  |  | PLATFORM 1 |  | 2013053 | KGB BUILDING | FIRST FLOOR
PID 4 | PIDS | 10.207.13.54 | 255.255.255.128 | 10.207.13.1 |  |  | PLATFORM 2 |  | 2013054 | KGB BUILDING | FIRST FLOOR
BLS 1 | BLS / Third Rail | 10.216.13.4 | 255.255.255.128 | 10.216.13.1 |  |  | TSS |  | 4301 | KGB BUILDING | FIRST FLOOR
BLS 2 | BLS / Third Rail | 10.216.13.5 | 255.255.255.128 | 10.216.13.1 |  |  | Platform (1) |  | 4302 | KGB BUILDING | FIRST FLOOR
BLS 3 | BLS / Third Rail | 10.216.13.6 | 255.255.255.0 | 10.216.13.1 |  |  | Platform (1) |  | 4303 | KGB BUILDING | FIRST FLOOR
BLS 4 | BLS / Third Rail | 10.216.13.7 | 255.255.255.0 | 10.216.13.1 |  |  | Platform (2) |  | 4304 | KGB BUILDING | FIRST FLOOR
BLS 5 | BLS / Third Rail | 10.216.13.8 | 255.255.255.0 | 10.216.13.1 |  |  | Platform (2) |  | 4305 | KGB BUILDING | FIRST FLOOR
Lift Intercom 1 | BMS | 10.213.13.4 | 255.255.255.0 | 10.213.13.1 |  |  | Lift KGB Station 1 |  | 5301 | KGB BUILDING | FIRST FLOOR
Lift Intercom 2 | BMS | 10.213.13.5 | 255.255.255.0 | 10.213.13.1 |  |  | Lift KGB Station 1 |  | 5302 | KGB BUILDING | FIRST FLOOR
Lift Intercom 3 | BMS | 10.213.13.6 | 255.255.255.0 | 10.213.13.1 |  |  | Lift KGB Station 1 |  | 5303 | KGB BUILDING | FIRST FLOOR
Lift Intercom 4 | BMS | 10.213.13.7 | 255.255.255.0 | 10.213.13.1 |  |  | Lift KGB Station 1 |  | 5304 | KGB BUILDING | FIRST FLOOR
Pulomas Station
IPPA | PA / PIDS / PHP_VoIP | 10.207.14.4 | 255.255.255.0 | 10.207.14.1 |  |  | SCR ROOM |  | 2014004 | PLM BUILDING | FIRST FLOOR
NAC 1 | PA | 10.207.14.5 | 255.255.255.0 | 10.207.14.1 |  |  | TELECOM ROOM |  | 2014005 | PLM BUILDING | SECOND FLOOR
NAC 2 | PA | 10.207.14.6 | 255.255.255.0 | 10.207.14.1 |  |  | TELECOM ROOM |  | 2014006 | PLM BUILDING | SECOND FLOOR
Platform PA Phone 1 | PA | 10.207.14.7 | 255.255.255.0 | 10.207.14.1 |  |  | PLATFORM 1 |  | 6401 | PLM BUILDING | FIRST FLOOR
Platform PA Phone 2 | PA | 10.207.14.8 | 255.255.255.0 | 10.207.14.1 |  |  | PLATFORM 2 |  | 6402 | PLM BUILDING | FIRST FLOOR
SNOM 765 | PHP_VoIP | 10.207.14.152 | 255255255128 | 10.207.14.129 | 1410 | 1 | SCR ROOM | 000413948BA8 | 7006 | PLM BUILDING | FIRST FLOOR
PHP 1 | PHP_VoIP | 10.207.14.21 | 255.255.255.0 | 10.207.14.1 |  |  | CONCOURSE 1 |  | 2014021 | PLM BUILDING | FIRST FLOOR
PHP 2 | PHP_VoIP | 10.207.14.22 | 255.255.255.0 | 10.207.14.1 |  |  | CONCOURSE 2 |  | 2014022 | PLM BUILDING | FIRST FLOOR
PHP 3 | PHP_VoIP | 10.207.14.23 | 255.255.255.0 | 10.207.14.1 |  |  | PLATFORM 1 |  | 2014023 | PLM BUILDING | FIRST FLOOR
PHP 4 | PHP_VoIP | 10.207.14.24 | 255.255.255.0 | 10.207.14.1 |  |  | PLATFORM 1 |  | 2014024 | PLM BUILDING | FIRST FLOOR
PHP 5 | PHP_VoIP | 10.207.14.25 | 255.255.255.0 | 10.207.14.1 |  |  | PLATFORM 2 |  | 2014025 | PLM BUILDING | FIRST FLOOR
PHP 6 | PHP_VoIP | 10.207.14.26 | 255.255.255.0 | 10.207.14.1 |  |  | PLATFORM 2 |  | 2014026 | PLM BUILDING | FIRST FLOOR
SNOM 710 1 | PHP_VoIP | 10.207.14.31 | 255.255.255.0 | 10.207.14.1 | 1400 | 1 | GENERATOR ROOM | 000413889033 | 3401 | PLM BUILDING | GROUND FLOOR
SNOM 710 2 | PHP_VoIP | 10.207.14.32 | 255.255.255.0 | 10.207.14.1 | 1400 | 2 | UPS & BATTERY ROOM | 00041388905A | 3402 | PLM BUILDING | GROUND FLOOR
SNOM 710 3 | PHP_VoIP | 10.207.14.33 | 255.255.255.0 | 10.207.14.1 | 1400 | 3 | WATER TANK/PUMP ROOM | 000413888497 | 3403 | PLM BUILDING | GROUND FLOOR
SNOM 710 4 | PHP_VoIP | 10.207.14.34 | 255255255128 | 10.207.14.1 | 1402 | 2 | TSS ROOM | 000413889057 | 3404 | PLM BUILDING | GROUND FLOOR
SNOM 710 5 | PHP_VoIP | 10.207.14.35 | 255255255128 | 10.207.14.1 | 1402 | 3 | LV SWITCHGEAR ROOM | 00041388850A | 3405 | PLM BUILDING | GROUND FLOOR
SNOM 710 6 | PHP_VoIP | 10.207.14.36 | 255255255126 | 10.207.14.1 | 1404 | 1 | SMR ROOM | 0004138884B6 | 3406 | PLM BUILDING | FIRST FLOOR
SNOM 710 7 | PHP_VoIP | 10.207.14.37 | 255255255127 | 10.207.14.1 | 1404 | 2 | DB ROOM BRT | 000413888499 | 3407 | PLM BUILDING | FIRST FLOOR
SNOM 710 8 | PHP_VoIP | 10.207.14.38 | 255255255128 | 10.207.14.1 | 1404 | 3 | AFC ROOM | 000413889039 | 3408 | PLM BUILDING | FIRST FLOOR
SNOM 710 9 | PHP_VoIP | 10.207.14.39 | 255255255128 | 10.207.14.1 | 1404 | 4 | PSD ROOM | 000413889077 | 3409 | PLM BUILDING | FIRST FLOOR
SNOM 710 10 | PHP_VoIP | 10.207.14.40 | 255255255128 | 10.207.14.1 | 1404 | 5 | PAO BARAT | 0004138884AC | 3410 | PLM BUILDING | FIRST FLOOR
SNOM 710 11 | PHP_VoIP | 10.207.14.41 | 255255255128 | 10.207.14.1 | 1406 | 1 | CASH ROOM | 0004138884D0 | 3411 | PLM BUILDING | FIRST FLOOR
SNOM 710 12 | PHP_VoIP | 10.207.14.45 | 255255255128 | 10.207.14.1 | 1407 | 1 | DB ROOM TMR | 000413889032 | 3412 | PLM BUILDING | FIRST FLOOR
SNOM 710 13 | PHP_VoIP | 10.207.14.46 | 255255255128 | 10.207.14.1 | 1407 | 2 | PAO ROOM TMR | 000413889034 | 3413 | PLM BUILDING | FIRST FLOOR
SNOM 710 14 | PHP_VoIP | 10.207.14.47 | 255255255128 | 10.207.14.1 | 1407 | 3 | NURSE ROOM | 000413889038 | 3414 | PLM BUILDING | FIRST FLOOR
SNOM 710 15 | PHP_VoIP | 10.207.14.149 | 255255255128 | 10.207.14.129 | 1410 | 8 | SCR | 000413889075 | 3415 | PLM BUILDING | FIRST FLOOR
SNOM 710 16 | PHP_VoIP | 10.207.14.153 | 255255255128 | 10.207.14.129 | 1411 | 1 | TELKOM ROOM | 000413889074 | 3416 | PLM BUILDING | SECOND FLOOR
SNOM 710 17 | PHP_VoIP | 10.207.14.154 | 255255255128 | 10.207.14.129 | 1411 | 2 | SIGNALING ROOM | 000413888496 | 3417 | PLM BUILDING | SECOND FLOOR
PID 1 | PIDS | 10.207.14.51 | 255.255.255.0 | 10.207.14.1 |  |  | CONCOURSE 1 |  | 2014051 | PLM BUILDING | FIRST FLOOR
PID 2 | PIDS | 10.207.14.52 | 255.255.255.0 | 10.207.14.1 |  |  | CONCOURSE 2 |  | 2014052 | PLM BUILDING | FIRST FLOOR
PID 3 | PIDS | 10.207.14.53 | 255.255.255.0 | 10.207.14.1 |  |  | PLATFORM 1 |  | 2014053 | PLM BUILDING | FIRST FLOOR
PID 4 | PIDS | 10.207.14.54 | 255.255.255.0 | 10.207.14.1 |  |  | PLATFORM 2 |  | 2014054 | PLM BUILDING | FIRST FLOOR
BLS 1 | BLS / Third Rail | 10.216.14.4 | 255.255.255.0 | 10.216.14.1 |  |  | TSS |  | 4401 | PLM BUILDING | FIRST FLOOR
BLS 2 | BLS / Third Rail | 10.216.14.5 | 255.255.255.0 | 10.216.14.1 |  |  | Platform (1) |  | 4402 | PLM BUILDING | FIRST FLOOR
BLS 3 | BLS / Third Rail | 10.216.14.6 | 255.255.255.0 | 10.216.14.1 |  |  | Platform (1) |  | 4403 | PLM BUILDING | FIRST FLOOR
BLS 4 | BLS / Third Rail | 10.216.14.7 | 255.255.255.0 | 10.216.14.1 |  |  | Platform (2) |  | 4404 | PLM BUILDING | FIRST FLOOR
BLS 5 | BLS / Third Rail | 10.216.14.8 | 255.255.255.0 | 10.216.14.1 |  |  | Platform (2) |  | 4405 | PLM BUILDING | FIRST FLOOR
Lift Intercom 1 | BMS | 10.213.14.4 | 255.255.255.0 | 10.213.14.1 |  |  | Lift Pulomas Station 1 |  | 5401 | PLM BUILDING | FIRST FLOOR
Lift Intercom 2 | BMS | 10.213.14.5 | 255.255.255.0 | 10.213.14.1 |  |  | Lift Pulomas Station 2 |  | 5402 | PLM BUILDING | FIRST FLOOR
Pacuan Kuda Station
IPPA | PA / PIDS / PHP_VoIP | 10.207.15.4 | 255.255.255.0 | 10.207.15.1 |  |  | SCR ROOM |  | 2015004 | PCK BUILDING | FIRST FLOOR
NAC 1 | PA | 10.207.15.5 | 255.255.255.0 | 10.207.15.1 |  |  | TELECOM ROOM |  | 2015005 | PCK BUILDING | SECOND FLOOR
NAC 2 | PA | 10.207.15.6 | 255.255.255.0 | 10.207.15.1 |  |  | TELECOM ROOM |  | 2015006 | PCK BUILDING | SECOND FLOOR
Platform PA Phone 1 | PA | 10.207.15.7 | 255.255.255.0 | 10.207.15.1 |  |  | PLATFORM 1 |  | 6501 | PCK BUILDING | FIRST FLOOR
Platform PA Phone 2 | PA | 10.207.15.8 | 255.255.255.0 | 10.207.15.1 |  |  | PLATFORM 2 |  | 6502 | PCK BUILDING | FIRST FLOOR
SNOM 765 | PHP_VoIP | 10.207.15.45 | 255255255128 | 10.207.15.1 | 1507 | 1 | SCR ROOM | 000413948BFC | 7007 | PCK BUILDING | FIRST FLOOR | 17-20 | sw harus ganti
PHP 1 | PHP_VoIP | 10.207.15.21 | 255.255.255.0 | 10.207.15.1 |  |  | CONCOURSE 1 |  | 2015021 | PCK BUILDING | FIRST FLOOR
PHP 2 | PHP_VoIP | 10.207.15.22 | 255.255.255.0 | 10.207.15.1 |  |  | CONCOURSE 2 |  | 2015022 | PCK BUILDING | FIRST FLOOR
PHP 3 | PHP_VoIP | 10.207.15.23 | 255.255.255.0 | 10.207.15.1 |  |  | PLATFORM 1 |  | 2015023 | PCK BUILDING | FIRST FLOOR
PHP 4 | PHP_VoIP | 10.207.15.24 | 255.255.255.0 | 10.207.15.1 |  |  | PLATFORM 1 |  | 2015024 | PCK BUILDING | FIRST FLOOR
PHP 5 | PHP_VoIP | 10.207.15.25 | 255.255.255.0 | 10.207.15.1 |  |  | PLATFORM 2 |  | 2015025 | PCK BUILDING | FIRST FLOOR
PHP 6 | PHP_VoIP | 10.207.15.26 | 255.255.255.0 | 10.207.15.1 |  |  | PLATFORM 2 |  | 2015026 | PCK BUILDING | FIRST FLOOR
SNOM 710 1 | PHP_VoIP | 10.207.15.31 | 255255255128 | 10.207.15.1 | 1500 | 1 | SERVICE CORIDOR1 | 000413888FBD | 3501 | PCK BUILDING | GROUND FLOOR
SNOM 710 2 | PHP_VoIP | 10.207.15.32 | 255255255128 | 10.207.15.1 | 1500 | 2 | GENERATOR ROOM | 000413888FFA | 3502 | PCK BUILDING | GROUND FLOOR
SNOM 710 3 | PHP_VoIP | 10.207.15.33 | 255255255128 | 10.207.15.1 | 1500 | 3 | UPS BATTRE | 000413888FCD | 3503 | PCK BUILDING | GROUND FLOOR
SNOM 710 4 | PHP_VoIP | 10.207.15.34 | 255255255128 | 10.207.15.1 | 1502 | 3 | LVMDP | 000413888FDF | 3504 | PCK BUILDING | GROUND FLOOR
SNOM 710 5 | PHP_VoIP | 10.207.15.35 | 255255255128 | 10.207.15.1 | 1502 | 4 | TRNSFORMER2 | 000413888FD6 | 3505 | PCK BUILDING | GROUND FLOOR
SNOM 710 6 | PHP_VoIP | 10.207.15.36 | 255255255128 | 10.207.15.1 | 1504 | 1 | DB ROOM WEST | 000413888FF1 | 3506 | PCK BUILDING | FIRST FLOOR
SNOM 710 7 | PHP_VoIP | 10.207.15.37 | 255255255128 | 10.207.15.1 | 1504 | 2 | PAO WEST | 000413888FF9 | 3507 | PCK BUILDING | FIRST FLOOR
SNOM 710 8 | PHP_VoIP | 10.207.15.41 | 255255255128 | 10.207.15.1 | 1507 | 9 | SCR | 000413888FDD | 3508 | PCK BUILDING | FIRST FLOOR
SNOM 710 9 | PHP_VoIP | 10.207.15.42 | 255255255128 | 10.207.15.1 | 1507 | 10 | PSD ROOM | 000413888FBC | 3509 | PCK BUILDING | FIRST FLOOR
SNOM 710 10 | PHP_VoIP | 10.207.15.146 | 255255255128 | 10.207.15.129 | 1508 | 1 | NURSE ROOM | 000413888FDC | 3510 | PCK BUILDING | FIRST FLOOR
SNOM 710 11 | PHP_VoIP | 10.207.15.147 | 255255255128 | 10.207.15.129 | 1508 | 2 | DB ROOM EAST | 000413888FE9 | 3511 | PCK BUILDING | FIRST FLOOR
SNOM 710 12 | PHP_VoIP | 10.207.15.148 | 255255255128 | 10.207.15.129 | 1508 | 3 | CASH ROOM | 000413888FD9 | 3512 | PCK BUILDING | FIRST FLOOR
SNOM 710 13 | PHP_VoIP | 10.207.15.149 | 255255255128 | 10.207.15.129 | 1508 | 4 | SMR ROOM | 000413888FDA | 3513 | PCK BUILDING | FIRST FLOOR
SNOM 710 14 | PHP_VoIP | 10.207.15.150 | 255255255128 | 10.207.15.129 | 1508 | 5 | AFC ROOM | 000413888FD8 | 3514 | PCK BUILDING | FIRST FLOOR
SNOM 710 15 | PHP_VoIP | 10.207.15.151 | 255255255128 | 10.207.15.129 | 1510 | 2 | PAO EAST |  | 3515 | PCK BUILDING | FIRST FLOOR
SNOM 710 16 | PHP_VoIP | 10.207.15.153 | 255255255128 | 10.207.15.129 | 1511 | 1 | TELKOM | 000413888FD7 | 3516 | PCK BUILDING | SECOND FLOOR
SNOM 710 17 | PHP_VoIP | 10.207.15.154 | 255255255128 | 10.207.15.129 | 1511 | 2 | SIGNALING | 000413888FFB | 3517 | PCK BUILDING | SECOND FLOOR
PID 1 | PIDS | 10.207.15.51 | 255.255.255.0 | 10.207.15.1 |  |  | CONCOURSE 1 |  | 2015051 | PCK BUILDING | FIRST FLOOR
PID 2 | PIDS | 10.207.15.52 | 255.255.255.0 | 10.207.15.1 |  |  | CONCOURSE 2 |  | 2015052 | PCK BUILDING | FIRST FLOOR
PID 3 | PIDS | 10.207.15.53 | 255.255.255.0 | 10.207.15.1 |  |  | PLATFORM 1 |  | 2015053 | PCK BUILDING | FIRST FLOOR
PID 4 | PIDS | 10.207.15.54 | 255.255.255.0 | 10.207.15.1 |  |  | PLATFORM 2 |  | 2015054 | PCK BUILDING | FIRST FLOOR
BLS 1 | BLS / Third Rail | 10.216.15.4 | 255.255.255.0 | 10.216.15.1 |  |  | TSS |  | 4501 | PCK BUILDING | FIRST FLOOR
BLS 2 | BLS / Third Rail | 10.216.15.5 | 255.255.255.0 | 10.216.15.1 |  |  | Platform (1) |  | 4502 | PCK BUILDING | FIRST FLOOR
BLS 3 | BLS / Third Rail | 10.216.15.6 | 255.255.255.0 | 10.216.15.1 |  |  | Platform (1) |  | 4503 | PCK BUILDING | FIRST FLOOR
BLS 4 | BLS / Third Rail | 10.216.15.7 | 255.255.255.0 | 10.216.15.1 |  |  | Platform (2) |  | 4504 | PCK BUILDING | FIRST FLOOR
BLS 5 | BLS / Third Rail | 10.216.15.8 | 255.255.255.0 | 10.216.15.1 |  |  | Platform (2) |  | 4505 | PCK BUILDING | FIRST FLOOR
Lift Intercom 1 | BMS | 10.213.15.4 | 255.255.255.0 | 10.213.15.1 |  |  | Lift Pulomas Station 1 |  | 5501 | PCK BUILDING | FIRST FLOOR
Lift Intercom 2 | BMS | 10.213.15.5 | 255.255.255.0 | 10.213.15.1 |  |  | Lift Pulomas Station 2 |  | 5502 | PCK BUILDING | FIRST FLOOR
Velodrome Station
IPPA | PA / PIDS / PHP_VoIP | 10.207.16.4 | 255.255.255.0 | 10.207.16.1 |  |  | SCR ROOM |  | 2016004 | VLD BUILDING | FIRST FLOOR
NAC 1 | PA | 10.207.16.5 | 255.255.255.0 | 10.207.16.1 |  |  | TELECOM ROOM |  | 2016005 | VLD BUILDING | SECOND FLOOR
NAC 2 | PA | 10.207.16.6 | 255.255.255.0 | 10.207.16.1 |  |  | TELECOM ROOM |  | 2016006 | VLD BUILDING | SECOND FLOOR
Platform PA Phone 1 | PA | 10.207.16.7 | 255.255.255.0 | 10.207.16.1 |  |  | PLATFORM 1 |  | 6601 | VLD BUILDING | FIRST FLOOR
Platform PA Phone 2 | PA | 10.207.16.8 | 255.255.255.0 | 10.207.16.1 |  |  | PLATFORM 2 |  | 6602 | VLD BUILDING | FIRST FLOOR
SNOM 765 | PHP_VoIP | 10.207.16.152 | 255255255128 | 10.207.16.129 | SCR/1610 | 1 | SCR ROOM | 000413948C51 | 7008 | VLD BUILDING | FIRST FLOOR
PHP 1 | PHP_VoIP | 10.207.16.21 | 255.255.255.0 | 10.207.16.1 |  |  | CONSOURSE 1 |  | 2016021 | VLD BUILDING | FIRST FLOOR
PHP 2 | PHP_VoIP | 10.207.16.22 | 255.255.255.0 | 10.207.16.1 |  |  | CONCOURSE 2 |  | 2016022 | VLD BUILDING | FIRST FLOOR
PHP 3 | PHP_VoIP | 10.207.16.23 | 255.255.255.0 | 10.207.16.1 |  |  | PLATFORM 1 |  | 2016023 | VLD BUILDING | FIRST FLOOR
PHP 4 | PHP_VoIP | 10.207.16.24 | 255.255.255.0 | 10.207.16.1 |  |  | PLATFORM 1 |  | 2016024 | VLD BUILDING | FIRST FLOOR
PHP 5 | PHP_VoIP | 10.207.16.25 | 255.255.255.0 | 10.207.16.1 |  |  | PLATFORM 2 |  | 2016025 | VLD BUILDING | FIRST FLOOR
PHP 6 | PHP_VoIP | 10.207.16.26 | 255.255.255.0 | 10.207.16.1 |  |  | PLATFORM 2 |  | 2016026 | VLD BUILDING | FIRST FLOOR
SNOM 710 1 | PHP_VoIP | 10.207.16.31 | 255255255128 | 10.207.16.1 | 1601 | 1 | PUMP ROOM | 000413889022 | 3601 | VLD BUILDING | GROUND FLOOR
SNOM 710 2 | PHP_VoIP | 10.207.16.32 | 255255255128 | 10.207.16.1 | 1601 | 2 | CORIDOR | 000413889070 | 3602 | VLD BUILDING | GROUND FLOOR
SNOM 710 3 | PHP_VoIP | 10.207.16.33 | 255255255128 | 10.207.16.1 | 1601 | 3 | GENERATOR ROOM | 000413889043 | 3603 | VLD BUILDING | GROUND FLOOR
SNOM 710 4 | PHP_VoIP | 10.207.16.34 | 255255255128 | 10.207.16.1 | 1601 | 4 | LV SWITCHGEAR ROOM | 00041388905B | 3604 | VLD BUILDING | GROUND FLOOR
SNOM 710 5 | PHP_VoIP | 10.207.16.35 | 255255255128 | 10.207.16.1 | 1602 | 3 | TSS ROOM | 000413889062 | 3605 | VLD BUILDING | GROUND FLOOR
SNOM 710 6 | PHP_VoIP | 10.207.16.49 | 255255255128 | 10.207.16.1 | 1609 | 20 | PSD ROOM | 000413889076 | 3606 | VLD BUILDING | FIRST FLOOR
SNOM 710 7 | PHP_VoIP | 10.207.16.50 | 255255255128 | 10.207.16.1 | 1609 | 12 | AFC ROOM | 000413889080 | 3607 | VLD BUILDING | FIRST FLOOR
SNOM 710 8 | PHP_VoIP | 10.207.16.51 | 255255255128 | 10.207.16.1 | 1609 | 11 | CASH ROOM | 00041388905F | 3608 | VLD BUILDING | FIRST FLOOR
SNOM 710 9 | PHP_VoIP | 10.207.16.39 | 255255255128 | 10.207.16.1 | 1609 | 10 | PAO 1 BARAT | 000413889060 | 3609 | VLD BUILDING | FIRST FLOOR
SNOM 710 10 | PHP_VoIP | 10.207.16.150 | 255255255128 | 10.207.16.129 | 1610 | 9 | SCR ROOM | 000413889061 | 3610 | VLD BUILDING | FIRST FLOOR
SNOM 710 11 | PHP_VoIP | 10.207.16.36 | 255255255128 | 10.207.16.1 | 1604 | 1 | DB ROOM TIMUR | 000413889064 | 3611 | VLD BUILDING | FIRST FLOOR
SNOM 710 12 | PHP_VoIP | 10.207.16.37 | 255255255128 | 10.207.16.1 | 1604 | 2 | PAO 2 TIMUR | 00041388905C | 3612 | VLD BUILDING | FIRST FLOOR
SNOM 710 13 | PHP_VoIP | 10.207.16.151 | 255255255128 | 10.207.16.129 | 1610 | 10 | SMR ROOM | 00041388907F | 3613 | VLD BUILDING | FIRST FLOOR
SNOM 710 14 | PHP_VoIP | 10.207.16.154 | 255255255128 | 10.207.16.129 | 1611 | 2 | SIGNALING ROOM | 000413888FAF | 3614 | VLD BUILDING | SECOND FLOOR
SNOM 710 15 | PHP_VoIP | 10.207.16.153 | 255255255128 | 10.207.16.129 | 1611 | 1 | TELKOM ROOM | 000413888FCE | 3615 | VLD BUILDING | SECOND FLOOR
PID 1 | PIDS | 10.207.16.51 | 255.255.255.0 | 10.207.16.1 |  |  | CONCOURSE 1 |  | 2016051 | VLD BUILDING | FIRST FLOOR
PID 2 | PIDS | 10.207.16.52 | 255.255.255.0 | 10.207.16.1 |  |  | CONCOURSE 2 |  | 2016052 | VLD BUILDING | FIRST FLOOR
PID 3 | PIDS | 10.207.16.53 | 255.255.255.0 | 10.207.16.1 |  |  | PLATFORM 1 |  | 2016053 | VLD BUILDING | FIRST FLOOR
PID 4 | PIDS | 10.207.16.54 | 255.255.255.0 | 10.207.16.1 |  |  | PLATFORM 2 |  | 2016054 | VLD BUILDING | FIRST FLOOR
BLS 1 | BLS / Third Rail | 10.216.16.4 | 255.255.255.0 | 10.216.16.1 |  |  | TSS |  | 4601 | VLD BUILDING | FIRST FLOOR
BLS 2 | BLS / Third Rail | 10.216.16.5 | 255.255.255.0 | 10.216.16.1 |  |  | Platform (1) |  | 4602 | VLD BUILDING | FIRST FLOOR
BLS 3 | BLS / Third Rail | 10.216.16.6 | 255.255.255.0 | 10.216.16.1 |  |  | Platform (1) |  | 4603 | VLD BUILDING | FIRST FLOOR
BLS 4 | BLS / Third Rail | 10.216.16.7 | 255.255.255.0 | 10.216.16.1 |  |  | Platform (2) |  | 4604 | VLD BUILDING | FIRST FLOOR
BLS 5 | BLS / Third Rail | 10.216.16.8 | 255.255.255.0 | 10.216.16.1 |  |  | Platform (2) |  | 4605 | VLD BUILDING | FIRST FLOOR
Lift Intercom 1 | BMS | 10.213.16.4 | 255.255.255.0 | 10.213.16.1 |  |  | Lift Pulomas Station 1 |  | 5601 | VLD BUILDING | FIRST FLOOR
Lift Intercom 2 | BMS | 10.213.16.5 | 255.255.255.0 | 10.213.16.1 |  |  | Lift Pulomas Station 2 |  | 5602 | VLD BUILDING | FIRST FLOOR

## Amp loading
4 Bus NAC | [7 empty] | 8 Bus NAC
Station Zoning - Velodrom | [7 empty] | Station Zoning - Velodrom
Amplifier Wattage | Audio Controller | Zone | Ceiling Mount Speakers (6W) | Projector Speakers (20W) | Horn Speaker (12.5W) | Total Amp Power | % Loading on Amp | Amplifier Wattage | Audio Controller | Zone | Ceiling Mount Speakers (6W) | Projector Speakers (20W) | Horn Speaker (12.5W) | Total Amp Power | % Loading on Amp
250 | NAC1 Channel 1 | Public Area - Line A | 0 | 5 | 0 | 100 | 40 | 140 | NAC1 Channel 1 | Public Area - Line A | 0 | 5 | 0 | 100 | 71.4286
250 | NAC1 Channel 2 | Non- Public Area - Line A | 9 | 0 | 4 | 104 | 41.6 | 140 | NAC1 Channel 2 | Non- Public Area - Line A | 9 | 0 | 4 | 104 | 74.2857
250 | NAC1 Channel 3 | Platform 1 - Line A | 0 | 3 | 0 | 60 | 24 | 140 | NAC1 Channel 3 | Platform 1 - Line A | 0 | 3 | 0 | 60 | 42.8571
250 | NAC1 Channel 4 | Platform 2 - Line A | 0 | 3 | 0 | 60 | 24 | 140 | NAC1 Channel 4 | Spare | 0 | 0 | 0 | 0 | 0
250 | NAC2 Channel 1 | Public Area - Line B | 0 | 5 | 0 | 100 | 40 | 140 | NAC1 Channel 5 | Public Area - Line B | 0 | 5 | 0 | 100 | 71.4286
250 | NAC2 Channel 2 | Non- Public Area - Line B | 9 | 0 | 4 | 104 | 41.6 | 140 | NAC1 Channel 6 | Non- Public Area - Line B | 9 | 0 | 4 | 104 | 74.2857
250 | NAC2 Channel 3 | Platform 1 - Line B | 0 | 3 | 0 | 60 | 24 | 140 | NAC1 Channel 7 | Platform 1 - Line B | 0 | 3 | 0 | 60 | 42.8571
250 | NAC2 Channel 4 | Platform 2 - Line B | 0 | 3 | 0 | 60 | 24 | 140 | NAC1 Channel 8 | N+1 Line | 0 | 0 | 0 | 0 | 0
250 | NAC3 Channel 1 | N+1 Line | 0 | 0 | 0 | 0 | 0
250 | NAC3 Channel 2 | Induction Loop Line | 0 | 0 | 0 | 0 | 0 | 140 | NAC2 Channel 1 | Platform 2 - Line A | 0 | 3 | 0 | 60 | 42.8571
250 | NAC3 Channel 3 | Not Used (Spare) | 0 | 0 | 0 | 0 | 0 | 140 | NAC2 Channel 2 | Platform 2 - Line B | 0 | 3 | 0 | 60 | 42.8571
250 | NAC3 Channel 4 | Not Used (Spare) | 0 | 0 | 0 | 0 | 0 | 140 | NAC2 Channel 3 | N+1 Line | 0 | 0 | 0 | 0 | 0
[8 empty] | 140 | NAC2 Channel 4 | Induction Loop Line | 0 | 0 | 0 | 0 | 0
[8 empty] | 140 | NAC2 Channel 5 | Induction Loop Line | 0 | 0 | 0 | 0 | 0
[8 empty] | 140 | NAC2 Channel 6 | Spare | 0 | 0 | 0 | 0 | 0
Station Zoning - Typical | [7 empty] | 140 | NAC2 Channel 7 | Spare | 0 | 0 | 0 | 0 | 0
[8 empty] | 140 | NAC2 Channel 8 | Spare | 0 | 0 | 0 | 0 | 0
Amplifier Wattage | Audio Controller | Zone | Ceiling Mount Speakers (6W) | Projector Speakers (20W) | Horn Speaker (12.5W) | Total Amp Power | % Loading on Amp
250 | NAC1 Channel 1 | Public Area - Line A | 0 | 5 | 0 | 100 | 40
250 | NAC1 Channel 2 | Non- Public Area - Line A | 15 | 0 | 4 | 140 | 56 | Station Zoning - Typical
250 | NAC1 Channel 3 | Platform 1 - Line A | 0 | 3 | 0 | 60 | 24
250 | NAC1 Channel 4 | Platform 2 - Line A | 0 | 3 | 0 | 60 | 24 | Amplifier Wattage | Audio Controller | Zone | Ceiling Mount Speakers (6W) | Projector Speakers (20W) | Horn Speaker (12.5W) | Total Amp Power | % Loading on Amp
250 | NAC2 Channel 1 | Public Area - Line B | 0 | 5 | 0 | 100 | 40 | 140 | NAC1 Channel 1 | Public Area - Line A | 0 | 5 | 0 | 100 | 71.4286
250 | NAC2 Channel 2 | Non- Public Area - Line B | 14 | 0 | 4 | 134 | 53.6 | 140 | NAC1 Channel 2 | Non- Public Area - Line A | 10 | 0 | 2 | 85 | 60.7143
250 | NAC2 Channel 3 | Platform 1 - Line B | 0 | 3 | 0 | 60 | 24 | 140 | NAC1 Channel 3 | Non-Public Area - Line B | 10 | 0 | 3 | 97.5 | 69.6429
250 | NAC2 Channel 4 | Platform 2 - Line B | 0 | 3 | 0 | 60 | 24 | 140 | NAC1 Channel 4 | Public Area - Line B | 0 | 5 | 0 | 100 | 71.4286
250 | NAC3 Channel 1 | N+1 Line | 0 | 0 | 0 | 0 | 0 | 140 | NAC1 Channel 5 | Non- Public Area - Line C | 9 | 0 | 3 | 91.5 | 65.3571
250 | NAC3 Channel 2 | Induction Loop Line | 0 | 0 | 0 | 0 | 0 | 140 | NAC1 Channel 6 | N+1 | 0 | 0 | 0 | 0 | 0
250 | NAC3 Channel 3 | Not Used (Spare) | 0 | 0 | 0 | 0 | 0 | 140 | NAC1 Channel 7 | Spare | 0 | 0 | 0 | 0 | 0
250 | NAC3 Channel 4 | Not Used (Spare) | 0 | 0 | 0 | 0 | 0 | 140 | NAC1 Channel 8 | Spare | 0 | 0 | 0 | 0 | 0
[8 empty] | 140 | NAC2 Channel 1 | Platform 2 - Line A | 0 | 3 | 0 | 60 | 42.8571
[8 empty] | 140 | NAC2 Channel 2 | Platform 2 - Line B | 0 | 3 | 0 | 60 | 42.8571
[8 empty] | 140 | NAC2 Channel 3 | Platform 1 - Line A | 0 | 3 | 0 | 60 | 42.8571
[8 empty] | 140 | NAC2 Channel 4 | Platform 1 - Line B | 0 | 3 | 0 | 60 | 42.8571
Depot | [7 empty] | 140 | NAC2 Channel 5 | N+1 Line | 0 | 0 | 0 | 0 | 0
[8 empty] | 140 | NAC2 Channel 6 | Induction Loop Line | 0 | 0 | 0 | 0 | 0
Amplifier Wattage | Audio Controller | Zone | Ceiling Mount Speakers (6W) | Projector Speakers (20W) | Horn Speaker (12.5W) | Total Amp Power | % Loading on Amp | 140 | NAC2 Channel 7 | Induction Loop Line | 0 | 0 | 0 | 0 | 0
250 | NAC1 Channel 1 | Maintainance Work Shop Line A | 8 | 0 | 8 | 148 | 59.2 | 140 | NAC2 Channel 8 | Spare | 0 | 0 | 0 | 0 | 0
250 | NAC1 Channel 2 | Maintainance Work Shop Line A | 8 | 0 | 8 | 148 | 59.2
250 | NAC1 Channel 3 | Maintainance Work Shop Line A | 7 | 0 | 9 | 154.5 | 61.8
250 | NAC1 Channel 4 | Maintainance Work Shop Line A | 7 | 0 | 9 | 154.5 | 61.8
250 | NAC2 Channel 1 | Maintainance Work Shop Line B | 8 | 0 | 8 | 148 | 59.2 | Depot
250 | NAC2 Channel 2 | Maintainance Work Shop Line B | 7 | 0 | 8 | 142 | 56.8
250 | NAC2 Channel 3 | Maintainance Work Shop Line B | 7 | 0 | 9 | 154.5 | 61.8 | Amplifier Wattage | Audio Controller | Zone | Ceiling Mount Speakers (6W) | Projector Speakers (20W) | Horn Speaker (12.5W) | Total Amp Power | % Loading on Amp
250 | NAC2 Channel 4 | Maintainance Work Shop Line B | 7 | 0 | 9 | 154.5 | 61.8 | 140 | NAC1 Channel 1 | Maintainance Work Shop Line A | 5 | 0 | 6 | 105 | 75
250 | NAC3 Channel 1 | Stabling Building - Line A | 0 | 0 | 15 | 187.5 | 75 | 140 | NAC1 Channel 2 | Maintainance Work Shop Line A | 5 | 0 | 6 | 105 | 75
250 | NAC3 Channel 2 | Stabling Building - Line A | 0 | 0 | 15 | 187.5 | 75 | 140 | NAC1 Channel 3 | Maintainance Work Shop Line A | 5 | 0 | 6 | 105 | 75
250 | NAC3 Channel 3 | Stabling Building - Line B | 0 | 0 | 15 | 187.5 | 75 | 140 | NAC1 Channel 4 | Maintainance Work Shop Line B | 5 | 0 | 6 | 105 | 75
250 | NAC3 Channel 4 | Stabling Building - Line B | 0 | 0 | 15 | 187.5 | 75 | 140 | NAC1 Channel 5 | Maintainance Work Shop Line B | 5 | 0 | 6 | 105 | 75
[8 empty] | 140 | NAC1 Channel 6 | Maintainance Work Shop Line B | 5 | 0 | 6 | 105 | 75
250 | NAC4 Channel 1 | Admin Building/Police Building/MCC Ground Floor- Line A | 17 | 0 | 0 | 102 | 40.8 | 140 | NAC1 Channel 7 | Spare | 0 | 0 | 0 | 0 | 0
250 | NAC4 Channel 2 | Admin Building/Police Building/MCC Ground Floor- Line B | 17 | 0 | 0 | 102 | 40.8 | 140 | NAC1 Channel 8 | Spare | 0 | 0 | 0 | 0 | 0
250 | NAC4 Channel 3 | Admin Building/Police Building/MCC First Floor- Line A | 27 | 0 | 0 | 162 | 64.8
250 | NAC4 Channel 4 | Admin Building/Police Building/MCC First Floor- Line B | 28 | 0 | 0 | 168 | 67.2 | 140 | NAC2 Channel 1 | Maintainance Work Shop Line A | 5 | 0 | 6 | 105 | 75
250 | NAC5 Channel 1 | Admin Building/Police Building/MCC Second Floor- Line A | 33 | 0 | 0 | 198 | 79.2 | 140 | NAC2 Channel 2 | Maintainance Work Shop Line A | 5 | 0 | 5 | 92.5 | 66.0714
250 | NAC5 Channel 2 | Admin Building/Police Building/MCC Second Floor- Line B | 33 | 0 | 0 | 198 | 79.2 | 140 | NAC2 Channel 3 | Maintainance Work Shop Line A | 5 | 0 | 5 | 92.5 | 66.0714
250 | NAC5 Channel 3 | Admin Building/Police Building/MCC Third Floor- Line A | 31 | 0 | 0 | 186 | 74.4 | 140 | NAC2 Channel 4 | Maintainance Work Shop Line B | 5 | 0 | 6 | 105 | 75
250 | NAC5 Channel 4 | Admin Building/Police Building/MCC Third Floor- Line B | 31 | 0 | 0 | 186 | 74.4 | 140 | NAC2 Channel 5 | Maintainance Work Shop Line B | 5 | 0 | 5 | 92.5 | 66.0714
250 | NAC6 Channel 1 | Admin Building/Police Building/MCC Fourth Floor- Line A | 23 | 0 | 0 | 138 | 55.2 | 140 | NAC2 Channel 6 | Maintainance Work Shop Line B | 4 | 0 | 5 | 86.5 | 61.7857
250 | NAC6 Channel 2 | Admin Building/Police Building/MCC Fourth Floor- Line B | 23 | 0 | 0 | 138 | 55.2 | 140 | NAC2 Channel 7 | Spare | 0 | 0 | 0 | 0 | 0
250 | NAC6 Channel 3 | Admin Building/Police Building/MCC Fourth Floor- Line C | 24 | 0 | 0 | 144 | 57.6 | 140 | NAC2 Channel 8 | Spare | 0 | 0 | 0 | 0 | 0
250 | NAC6 Channel 4 | Spare | 0 | 0 | 0 | 0 | 0
250 | NAC7 Channel 1 | Admin Building/Police Building/MCC Fifth Floor- Line A | 27 | 0 | 0 | 162 | 64.8 | 140 | NAC3 Channel 1 | Stabling Building - Line A | 0 | 0 | 7 | 87.5 | 62.5
250 | NAC7 Channel 2 | Admin Building/Police Building/MCC Fifth Floor- Line B | 27 | 0 | 0 | 162 | 64.8 | 140 | NAC3 Channel 2 | Stabling Building - Line A | 0 | 0 | 7 | 87.5 | 62.5
250 | NAC7 Channel 3 | Admin Building/Police Building/MCC Fifth Floor- Line C | 27 | 0 | 0 | 162 | 64.8 | 140 | NAC3 Channel 3 | Stabling Building - Line A | 0 | 0 | 8 | 100 | 71.4286
250 | NAC7 Channel 4 | Spare | 0 | 0 | 0 | 0 | 0 | 140 | NAC3 Channel 4 | Stabling Building - Line A | 0 | 0 | 8 | 100 | 71.4286
[8 empty] | 140 | NAC3 Channel 5 | Stabling Building - Line B | 0 | 0 | 7 | 87.5 | 62.5
[8 empty] | 140 | NAC3 Channel 6 | Stabling Building - Line B | 0 | 0 | 7 | 87.5 | 62.5
[8 empty] | 140 | NAC3 Channel 7 | Stabling Building - Line B | 0 | 0 | 8 | 100 | 71.4286
[8 empty] | 140 | NAC3 Channel 8 | Stabling Building - Line B | 0 | 0 | 8 | 100 | 71.4286
[8 empty] | 140 | NAC4 Channel 1 | Admin Building/Police Building/MCC Ground Floor- Line A | 17 | 0 | 0 | 102 | 72.8571
[8 empty] | 140 | NAC4 Channel 2 | Admin Building/Police Building/MCC Ground Floor- Line B | 17 | 0 | 0 | 102 | 72.8571
[8 empty] | 140 | NAC4 Channel 3 | Admin Building/Police Building/MCC First Floor- Line A | 14 | 0 | 0 | 84 | 60
[8 empty] | 140 | NAC4 Channel 4 | Admin Building/Police Building/MCC First Floor- Line A | 15 | 0 | 0 | 90 | 64.2857
[8 empty] | 140 | NAC4 Channel 5 | Admin Building/Police Building/MCC First Floor- Line B | 15 | 0 | 0 | 90 | 64.2857
[8 empty] | 140 | NAC4 Channel 6 | Admin Building/Police Building/MCC First Floor- Line B | 15 | 0 | 0 | 90 | 64.2857
[8 empty] | 140 | NAC4 Channel 7 | Spare | 0 | 0 | 0 | 0 | 0
[8 empty] | 140 | NAC4 Channel 8 | Spare | 0 | 0 | 0 | 0 | 0
[8 empty] | 140 | NAC5 Channel 1 | Admin Building/Police Building/MCC Second Floor- Line A | 16 | 0 | 0 | 96 | 68.5714
[8 empty] | 140 | NAC5 Channel 2 | Admin Building/Police Building/MCC Second Floor- Line A | 17 | 0 | 0 | 102 | 72.8571
[8 empty] | 140 | NAC5 Channel 3 | Admin Building/Police Building/MCC Second Floor- Line B | 16 | 0 | 0 | 96 | 68.5714
[8 empty] | 140 | NAC5 Channel 4 | Admin Building/Police Building/MCC Second Floor- Line B | 17 | 0 | 0 | 102 | 72.8571
[8 empty] | 140 | NAC5 Channel 5 | Admin Building/Police Building/MCC Third Floor- Line A | 15 | 0 | 0 | 90 | 64.2857
[8 empty] | 140 | NAC5 Channel 6 | Admin Building/Police Building/MCC Third Floor- Line A | 15 | 0 | 0 | 90 | 64.2857
[8 empty] | 140 | NAC5 Channel 7 | Admin Building/Police Building/MCC Third Floor- Line B | 16 | 0 | 0 | 96 | 68.5714
[8 empty] | 140 | NAC5 Channel 8 | Admin Building/Police Building/MCC Third Floor- Line B | 16 | 0 | 0 | 96 | 68.5714
[8 empty] | 140 | NAC6 Channel 1 | Admin Building/Police Building/MCC Fourth Floor- Line A | 12 | 0 | 0 | 72 | 51.4286
[8 empty] | 140 | NAC6 Channel 2 | Admin Building/Police Building/MCC Fourth Floor- Line A | 12 | 0 | 0 | 72 | 51.4286
[8 empty] | 140 | NAC6 Channel 3 | Admin Building/Police Building/MCC Fourth Floor- Line A | 11 | 0 | 0 | 66 | 47.1429
[8 empty] | 140 | NAC6 Channel 4 | Admin Building/Police Building/MCC Fourth Floor- Line B | 12 | 0 | 0 | 72 | 51.4286
[8 empty] | 140 | NAC6 Channel 5 | Admin Building/Police Building/MCC Fourth Floor- Line B | 12 | 0 | 0 | 72 | 51.4286
[8 empty] | 140 | NAC6 Channel 6 | Admin Building/Police Building/MCC Fourth Floor- Line B | 11 | 0 | 0 | 66 | 47.1429
[8 empty] | 140 | NAC6 Channel 7 | Spare | 0 | 0 | 0 | 0 | 0
[8 empty] | 140 | NAC6 Channel 8 | Spare | 0 | 0 | 0 | 0 | 0
[8 empty] | 140 | NAC7 Channel 1 | Admin Building/Police Building/MCC Fifth Floor- Line A | 14 | 0 | 0 | 84 | 60
[8 empty] | 140 | NAC7 Channel 2 | Admin Building/Police Building/MCC Fifth Floor- Line A | 14 | 0 | 0 | 84 | 60
[8 empty] | 140 | NAC7 Channel 3 | Admin Building/Police Building/MCC Fifth Floor- Line A | 13 | 0 | 0 | 78 | 55.7143
[8 empty] | 140 | NAC7 Channel 4 | Admin Building/Police Building/MCC Fifth Floor- Line B | 14 | 0 | 0 | 84 | 60
[8 empty] | 140 | NAC7 Channel 5 | Admin Building/Police Building/MCC Fifth Floor- Line B | 14 | 0 | 0 | 84 | 60
[8 empty] | 140 | NAC7 Channel 6 | Admin Building/Police Building/MCC Fifth Floor- Line B | 13 | 0 | 0 | 78 | 55.7143
[8 empty] | 140 | NAC7 Channel 7 | Spare | 0 | 0 | 0 | 0 | 0
[8 empty] | 140 | NAC7 Channel 8 | Spare | 0 | 0 | 0 | 0 | 0